CiliaTracks

Biological Workflow Protocol

Table of Contents

1 Overview……………………………………………………………………………………………………………1

2 Materials……………………………………………………………………………………………………………1

3 Microsphere Application……………………………………………………………………………………1

4 Capturing particle Movement……………………………………..…………………………………….2

1. Overview

CiliaTracks is a comprehensive Python package and dedicated website that enables clinicians and researchers to analyze cilia-driven particle motility and accurately predict PCD from high-speed video microscopy (HSVM) data.

To carry out analysis with CiliaTracks, HSVM data must first be collected through a standardized biological protocol. This workflow involves applying fluorescent microspheres to cultured airway liquid interface (ALI) cells and capturing their movement.

2. Materials

- 1% Solids 1.9 mm diameter green, fluorescent polymer microspheres (Thermo Fisher Scientific, CAT. NO. G0200)

- 2% Nu-Serum (Corning, Product Number 355100) media

- ALI differentiated cultured airway epithelial cells in Transwells (6.5 mm or 12 mm diameter, Product Numbers 3472 & 3462)

- Widefield inverted fluorescence microscope capable of capturing videos at 100 fps

3. Microsphere Application

- Dilute 1% solids, 1.9 mm diameter green, fluorescent polymer microspheres 1:1000 in warm 2% Nu-Serum

  - Incubate at 37oC for a minimum of 10 minutes

- Acquire cultured cells of interest (differentiated on Transwell plates)

  - Gently wash the apical chamber with warm 2% Nu-Serum, lightly rotating for 1 minute

  - Aspirate media

- Mix diluted fluorescent microspheres solution and apply beads to surface of inserts slowly, aiming for the center

  - Add 20 mL for 6.5 mm diameter Transwells, 60 mL for 12 mm

- Incubate cells for 10 minutes at 37 oC

4. Capturing Particle Movement

- Turn on microscope, and its environmental chamber, setting it to 37oC

- Acquire cells from incubator and place in microscope

- Initialize following microscope settings:

  - Set to Fusion EPI viewing mode

  - Set to GFP fluorescence channel

  - 10x magnification

- Visualize and identify regions on insert with maximum bead movement

  - Best regions for capture are typically away from the center of insert

Capture region

4x magnification

- Once a suitable region is identified, ensure focus and contrast are well adjusted. Capture a 4.45 second video at 100 fps and 10x magnification.

- Note down the mm/pixel ratio for the specified resolution

- Save video as .avi file with MJPEG compression if possible

- Capture a minimum of 3 videos per insert

Particle movement

Raw capture

Healthy Cells

Particle movement

Raw capture

PCD Cells

- Once finished capturing process, rinse inserts with 2% Nu-Serum three times

- Use CIliaTracks for subsequent analysis